## Rule of Thumb Pricing
RULES OF THUMB REPLACEMENT COSTS
DISCLAIMER
1. The following is gathered from a number of reliable sources but is going to vary from building to building
2. Costs are going to vary from location to location
3. The quality of the product will vary and will impact the cost
4. The below is only to be used as a guide…nothing more.
5. This is not intended to be an exhaustive list.
6. You must also factor the cost of the removal of old systems/components
FLOOR COVERING
VCT (non athletic area) | 2.25 | SF
VCT (slip resistant) | 4 | SF
VCT (athletic w/painted lines) | 3 | SF
Carpet 28oz. Level loop | 3 | SF
Carpet 32oz. Cut pile | 3.75 | SF
Atletic Carpet w/lines | 4 | SF
Mondo (6-8 mil) | 8 | SF
Ceramic Tile | 9 | SF
Ceramic Base | 8 | LF
Porcelin Tile | 12 | SF
Stained Concrete | 6 | SF
Sheet Vinyl | 5.5 | SF
Rubber Treads | 15 | lf
Masonite - Painted Black (platforms) | 3.75 | SF
Quarry Tile (kitchens) | 10 | SF
Epoxy (in lieu of paint) | 3.25 | SF
WALL COVERINGS/CEILINGS
Latex washable flat | 0.65 | wall SF
Latex washable semi gloss | 0.95 | wall SF
Epoxy | 1.75 | wall SF
CEILINGS
2X2 ACT | 2.4 | SF
Tegular upgrade | 2.95 | SF
2x4 ACT | 2.1 | SF
Painted Gyp Board | 1.85 | SF
Tectum/pre-finished | 5 | SF
Painted Structure | 1 | SF
ROOFING
30 year architectural asphalt shingle | 3 | SF of roof
Architectural standing seam metal | 9 | SF of roof
Membrane roof | 6.5 | SF of roof
WINDOWS
Standard storefront | 45 | Glass SF
Ballistic glass | 60 | Glass SF
Stained glass (leaded) | 150 | Glass SF
HVAC
Heat Pump/Furnace | 2750 | Ton
Chiller | 3500 | Ton

## Life Expectancy
Life Expectancy of Building Components
DISCLAIMER
1. The following is gathered from a number of reliable sources but is going to vary from building to building
2. The maintenance and care of building components can extend the useful life
3. The quality of the product will vary and will impact the useful life
4. The below is only to be used as a guide…nothing more.
5. This is not intended to be an exhaustive list.
CEILINGS & WALLS | YEARS
Acoustical Tile Ceiling | 40+ (older than 25 years may contain asbestos)
Ceramic Tile | 50+
Concrete | 75+
Gypsum | 50+
Wood Paneling | 20 to 50
PAINT | YEARS
Exterior Paint on Wood | 4 to 10
Exterior Paint on Wood (sunny side) | 3 to 5
Exterior Paint on Wood (coastal) | 1 to 3
Exterior on Aluminum | 20+
Exterior on Stucco/EFIS | 7 to 10
Exterior on Stucco/EFIS (sunny side) | 3 to 6
Hardi - Cementious Board | 15+
Suspended Ceiling | 25+
Interior Wall Paint (2 coats) | 5 to 10
COUNTERTOPS | YEARS
Concrete | 50
Cultured Marble | 20
Natural Stone | 100+
Laminate | 20 to 30
DOORS | YEARS
Fiberglass (exterior) | 25-30
Fire-Rated Steel (exterior) | 25 - 30
Vinyl (exterior) | 15-20
Wood (exterior) | 30-50+
Wood (hollow-core interior) | 20 to 30
Wood (solid-core interior) | 30 to 50+
Roll Up - Commercial | 15 to 20
Door Closures | 10 to 15
Entry/Lock sets | 10 to 15
ELECTRICAL | YEARS
Bulbs (compact fluorescent) | 8,000 to 10,000+ hours
Bulbs (halogen) | 4,000 to 8,000+ hours
Bulbs (incandescent) | 1,000 to 2,000+ hours
Bulbs (LED) | 30,000 to 50,000+ hours
Fixtures | 40
Lighting Controls | 30+
Service Panel | 60
ENGINEERED LUMBER | YEARS
Engineered Joists | 80+
Laminated Strand Lumber | 100+
Laminated Veneer Lumber | 80+
Trusses | 100+
FASTENERS, CONNECTORS & STEEL | YEARS
Adjustable Steel Columns | 50+
Fasteners (bright) | 25 to 60
Fasteners (copper) | 65 to 80+
Fasteners (galvanized) | 10+
Fasteners (electro-galvanized) | 15 to 45
Fasteners (hot-dipped galvanized) | 35 to 60
Fasteners (stainless) | 65 to 100+
Steel Beams | 200+
Steel Columns | 100+
Steel Plates | 100+
FLOORING | YEARS
All Wood Floors | 50+
Bamboo | 100+
Brick Pavers | 50+
Carpet | 6 to 10
Concrete | 50+
Engineered Wood | 50+
Exotic Wood | 100+
Granite | 100+
Laminate | 15 to 25
Linoleum | 25
Marble | 100+
Other Domestic Wood | 100+
Slate | 50+
Terrazzo | 50+
Tile | 20 to 50
Vinyl | 12 to 20
Post and Pier | 20 to 65
Post and Tensioned Slab on Grade | 100+
Poured-Concrete Footings and Foundation | 100+
Slab on Grade (concrete) | 100
Wood Foundation | 5 to 40
Permanent Wood Foundation (PWF; treated) | 75
FRAMING | YEARS
Log | 80 to 200
Poured-Concrete Systems | 100+
Steel | 100+
Structural Insulated Panels (SIPs) | 100+
Timber Frame | 100+
GARAGES | YEARS
Garage Doors | 20 to 25
Garage Door Openers | 10 to 15
HOME TECHNOLOGY | YEARS
Built-In Audio | 20
Carbon Monoxide Detectors* | 5
Door Bells | 45
Home Automation System | 5 to 50
Intercoms | 20
Security System | 5 to 20
Smoke/Heat Detectors* | less than 10
Wireless Home Networks | 5+
HVAC | YEARS
Air Conditioner (central) | 7 to 15
Air Exchanger | 15
Attic Fan | 15 to 25
Boiler | 40
Burner | 10+
Ceiling Fan | 5 to 10
Condenser | 8 to 20
Dampers | 20+
Dehumidifier | 8
Diffusers, Grilles and Registers | 25
Ducting | 60 to 100
Electric Radiant Heater | 40
Evaporator Cooler | 15 to 25
Furnace | 15 to 25
Gas Fireplace | 15 to 25
Heat Exchanger | 10 to 15
Heat Pump | 10 to 15
Heat-Recovery Ventilator | 20
Hot-Water and Steam-Radiant Boiler | 40
Humidifier | 12
Induction and Fan-Coil Units | 10 to 15
Chimney Cap (concrete) | 100+
Chimney Cap (metal) | 10 to 20
Chimney Cap (mortar) | 15
Chimney Flue Tile | 40 to 120
Thermostats | 25 to 35
Ventilator | 7
INSULATION & INFILTRATION BARRIERS | YEARS
Batts/Rolls | 100+
Black Paper (felt paper) | 15 to 30
Cellulose | 100+
Fiberglass | 100+
Foamboard | 100+
Housewrap | 80+
Liquid-Applied Membrane | 50
Loose-Fill | 100+
Rock Wool | 100+
Wrap Tape | 80+
MASONRY & CONCRETE | YEARS
Brick | 100+
Insulated Concrete Forms (hybrid block) | 100+
Concrete Masonry Units (CMUs) | 100+
Man-Made Stone | 25
Masonry Sealant | 2 to 20
Stone | 100+
Stucco/EIFS | 50+
Veneer | 100+
MOLDING, MILLWORK & TRIM | YEARS
Attic Stairs (pull-down) | 50
Custom Millwork | 100+
Pre-Built Stairs | 100+
Stair Parts | 100+
Stairs | 100+
PANELS | YEARS
Flooring Underlayment | 25
Hardboard | 40
Particleboard | 60
Plywood | 100
Softwood | 30
Oriented Strand Board (OSB) | 60
Wall Panels | 100+
PLUMBING, FIXTURES & FAUCETS | YEARS
Hose Bibs | 20 to 30
Instant (on-demand) Water Heater | 10
Tank Water Heater | 6 to 12
Sewer Grinder Pump | 10
Sump Pump | 7
Toilet Tank Components | 5
Toilets and Urinals | 30 to 40
Backflow Preventer | 5 to 10
Vessel Sink (stone, glass, porcelain, copper) | 5 to 20+
Well Pump | 15
RADON SYSTEMS | YEARS
Air Exchanger | 15
Barometric Backdraft Damper/Fresh-Air Intake | 20
Caulking | 5 to 10
Labeling | 25
Manometer | 15
Piping | 50+
Radon Fan | 5 to 8
ROOFING | YEARS
Aluminum Coating | 3 to 7
Asphalt Shingles (3-tab) | 20
Asphalt (architectural) | 30
BUR (built-up roofing) | 25-30
Clay/Concrete | 100+
Coal and Tar | 30
Copper | 70+
EPDM (ethylene propylene diene monomer) Rubber | 15 to 25
Fiber Cement | 25
Green (vegetation-covered) | 5 to 40
Metal | 40 to 80
Modified Bitumen | 20
Simulated Slate | 10 to 35
Slate | 60 to 150
TPO | 7 to 20
Wood | 25
WINDOWS | YEARS
Aluminum/Aluminum-Clad | 15 to 20
Double-Pane | 8 to 20
Skylights | 10 to 20
Window Glazing | 10+
Vinyl Windows | 20 to 40
Wood | 30+
ELEVATORS | YEARS
Hydraulic - High Use | 15 to 20
Hydraulic - Low Use | 30 to 35
Elevator Door Operations | 15 to 20
Cab Carpet | 1 to 3
Gearless Traction | 50+
FIRE AND LIFE SAFETY | YEARS
Fire Alarm | 15 to 20
Fire Pumps | 25 to 30
Sprinklers | 25 to 30
Security System | 10 to 15